#### Cryostat Microtome CT520 - Specifications

| Power requirements | 220 - 240 VAC, 50 Hz; 220 - 240 VAC, 60 Hz; 110 - 127 VAC, 60Hz |
| --- | --- |
| Dimensions (WxDxH) | 830 × 910 × 1300 mm (including the handwheel) |
| Weight | Approx. 185 kg (without accessories) |
| Section thickness range | 1 - 100 μm |
| Trinmming thickness range | 5 - 600 μm |
| Horizontal feed | 30 ± 1 mm |
| Vertical stroke | 62 ± 1 mm |
| Retraction | Yes, adjustable |
| Specimen orientation | ±8° (x/y axis), 360° (z axis) |
| Temperature range | At ambient temperature of 20 °C Freeze shelf: -10 °C to -42 °C ± 5°C Specimen head: -10 °C to -50 °C ± 5°C Blade holder: -15 °C to -30 °C ± 5°C |
| Freezing stations | 18 stations + 2 Peltier elements |
| Peltier elements | -60 °C + 3 °C (at freeze shelf temperature of -42 °C (+5 °C)) |